## Slide 1
Step 1
Add templates
Step 2
Add ROIs, change colors and types
Edit DICOM paths
Step 3
Create RT File
Run DICOM server
Start the program
Example of the program after providing a path for the AbdPelvBladder template. Note that the ‘Run DICOM server’ button has been depressed.
Example of the creation of an RT Structure file from the AbdPelv_Bladder template.

## Slide 2
Evaluation of generated RT Structure ‘TG263_Breast’ after importation into anonymized patient
Structure Template Naming as of 09/20/2022

## Slide 4
Installation of Program
Program is installed from the publicly available website: https://github.com/brianmanderson/DicomTemplateMakerCSharp
Edit Regions of Interest
Users can edit any ROI to match the preferences of their individual clinic. Including nomenclature/type/color/ontology
Download TG-263 Templates
A list of TG-263 compliant ROIs and templates are maintained and continually updated online
Downloaded templates are grouped based on their names. Each template is composed of ROIs relevant to that treated site.
Populate Templates
Patient Specific RT Structure
Users can create patient-specific RT Structures by defining locations where DICOM will be present and required Series/Study Descriptions
‘Create folder with loadable RTs’ will generate a folder with a loadable CT and a unique RT structure for each template.
RT Structures
Varian XML files
‘Create folder with loadable Varian Xmls’ will generate a folder with a loadable .xml files. If this folder is the Varian XML folder, the templates will populate immediately!
Generate TPS Loadable Objects
Run Server
Selecting ‘Run DICOM server’ will begin evaluating all templates and the paths listed in the previous step. Any DICOM files present will have a patient-specific RT structure generated.